Calibrations without raw data – A response to “Seasonal calibration of the end-cretaceous Chicxulub impact event”

Melanie A.D. During1, Dennis F.A.E. Voeten1,2, Per E. Ahlberg1

1Uppsala University, Department of Organismal Biology, Norbyvägen 18A, 752 36 Uppsala,

Sweden

2Frisian Museum of Natural History, Schoenmakersperk 2, 8911 EM Leeuwarden, The Netherlands

Abstract

A recent paper by DePalma et al. reported that the season of the End-Cretaceous mass extinction was confined to spring/summer on the basis of stable isotope analyses and supplementary observations. An independent study that was concurrently under review reached a similar conclusion using osteohistology and stable isotope analyses. We identified anomalies surrounding the stable isotope analyses reported by DePalma et al. Primary data are not provided, the laboratory where the analyses were performed is not identified, and the methods are insufficiently specified to enable accurate replication. Furthermore, isotopic graphs for carbon and oxygen contain irregularities such as missing data points, duplicate data points, and identical-length error bars for both elements despite different scales, that appear inconsistent with laboratory instrument outputs. A close examination of such methodological omissions and data irregularities can help to raise the standards for future studies of seasonality and prevent inaccurate claims or confirmation bias.

Introduction

The End-Cretaceous mass extinction, which included the eradication of the non-avian dinosaurs, is the most widely known of the five big mass extinctions, and is unique in that it was a geologically instantaneous event triggered by a meteorite impact1,2,3,4. Recently published studies by DePalma et al.5 and During et al.6 both attempted to uncover the time of year this impact occurred to improve understanding of the selectivity and severity of the extinction. Both papers conclude that the meteorite impacted in spring5,6 or early summer5. However, upon thorough examination of the DePalma et al. paper5, we have identified anomalies that are unlikely to be the result of analytical work.

Stable isotope records with conflicting migratory signals

During et al.6 and DePalma et al.5 both relied on analyses of stable carbon and oxygen isotope ratios recorded during bone growth of paddlefishes (Polyodontidae) from the Tanis locality in North Dakota5,6. The DePalma paper also reports stable isotopic data from sturgeons (Acipenseridae)5. However, the number of specimens examined in their study remains unclear, and the paper lacks photographs or measurements of the specimens, as well as a reference to the facility where these specimens are stored. 
This makes it impossible to reproduce their analyses.

Stable isotopic ratios preserved in fossil remains may serve as proxies in reconstructing physiological and environmental conditions and shifts7. Carbon isotopic changes in fossil bone can reveal dietary changes and have been used to reconstruct movements of migratory species between marine and freshwater environments8-14. Oxygen isotopic changes, typically measured simultaneously, can be used as a palaeoenvironmental proxy for seasonal temperature cycles15.  Furthermore, large 𝛿18O fluctuations in fossil bone and teeth may also reflect migration between freshwater and marine environments16.

Most extant sturgeons are anadromous (i.e. migrate between salt- and freshwater environments) whereas extant paddlefishes are limnetic (i.e. exclusively inhabit freshwater habitats)7,17,18. The oxygen isotopic graphs of sturgeon bone in DePalma et al.5 exhibit large annual variations, presumably reflecting the anadromous nature of these fishes, whereas the corresponding graphs for paddlefish bone register little variation5. Despite these contrasting migratory strategies recorded in 𝛿18O, the carbon isotopic graphs for the sturgeons and paddlefishes are essentially identical5; there is no signal difference that can be attributed to anadromous and limnetic lifestyles8-14. The presented data would, however, imply that limnetic paddlefishes and anadromous sturgeons maintained remarkably similar diets despite their contrasting migratory strategies. While the observed 13C cyclicity in sturgeon bone remains within the plausible value range for the marine realm, its near-perfect alignment with the plot trajectories in the paddlefish records is highly unexpected and warrants further explanation, a point not addressed by the authors.

Primary data:

No primary isotopic data are presented, either with the paper itself or through a linked online repository. The publication also lacks a Data Availability Statement5, despite such a statement being a strict requirement for publication in Scientific Reports.

Analytical facility:

The facility where the stable isotopic analyses were carried out is not revealed, nor are the dates when the experiments were conducted. Curtis McKinney, who is stated to have carried out the analyses5, passed away in 2017 and cannot be consulted about the referred analytical work.

Methods:

The isotopic section of the Methods declaration is brief and lacks a sufficiently detailed account of the techniques, sample weights, and adopted standards necessary for replicating the analyses. To adhere to best practices in reporting, the following methodological details should be provided:

- Description of the analytical facilities used and the specific location of the laboratory where the analyses were conducted;

- Estimation of sample weights (in milligrams or micrograms) after extraction;

- Description of sample treatment, including the acids and bases used, as well as the procedures followed;

- Identification of carbonate standards utilised for calibration purposes;

- Specification of the analytical precision achieved.

These methodological details are conventionally declared in published literature, as evidenced by studies cited4,6,7,8,9,10,11,12,13,14,15,16,19,20,21,22,23,24,25,26,27,28,29,30.

Sampling density and amount of carbon:

Stable isotope graphs in DePalma et al5 imply that, in some cases, up to 43 samples must have been successfully obtained along an 800 µm transect. Since the drill bits used for sampling are conical in shape, drilling deeper to yield more material inevitably also widens the drill holes. Caution thus needs to be exercised as to avoid intersection of the drill holes and prevent contaminated spot sampling. 43 individual samples yielded along an 800-µm-long transect corresponds with a maximum drill bit width of 18.60 µm, which equates to (much) less than half the diameter of a typical human hair. Only 10% by weight of hydroxyapatite consists of the structural carbonate30 that is available for stable isotope analysis. Since the amount of material required for reliable stable isotope analysis varies across the potentially available analytical techniques, the protocols used for obtaining sufficient material as well as for conducting isotopic analyses at the reported spatial resolution require explicit specification.

Graphs in the paper and in the Supplementary Information:

Fig. 2 of the DePalma et al.5 contains the stable isotope record (43 sampling spots) and osteohistology of specimen number FAU.DGS.ND.755.57.T, which is a sturgeon pectoral fin spine. However, this exact specimen number is also declared in the Supplementary Information associated with a different graph that only involves 35 sampling spots. This graph also includes a line dip without a marked data point, which may be a 36th sampling point, but this has not been clarified. Multiple inconsistencies indicate that the graphs5 were produced by image-handling software such as Adobe Photoshop. Since the paper does not provide the original data5, these results cannot be corroborated or understood. The referred issues listed below are also illustrated in Figures 1 – 9 of this article.

According to the figures in DePalma et al.,5, each sample location yielded hydroxyapatite samples for stable carbon and oxygen isotope analyses. The methods5 declare that these samples were analysed using a Gas Bench II linked to a Thermo Finnigan dual-inlet MAT 253 Stable Isotope Ratio Mass Spectrometer31. The analytical setup in this study5 mirrors the one utilised at the Vrije Universiteit Amsterdam6. However, our experience6 indicates that configuration does not allow for the high-resolution sampling of such small samples5, unless additional measures are taken, such as temporarily cryo-focussing of the produced CO2 with liquid nitrogen6. Notably, such an approach was not described or declared in DePalma et al.5.

Carbonate, in this case as a component of the hydroxyapatite samples, undergoes a reaction with orthophosphoric acid (H3PO4), leading to the generation of CO2 gas30. Subsequently, this sample gas is introduced into the mass spectrometer, where simultaneous measurements are taken for stable carbon and oxygen isotope ratios30. Consequently, a single measurement provides ratios between 12C and 13C, as well as between 16O and 18O, derived from the CO2 gas within a single sample. The expected outcome is a data table capturing both carbon and oxygen isotopic ratios for each sampling point31.

Graphing software is then employed to generate two spot values, one for oxygen and one for carbon, precisely aligned on the same vertical line30. However, it is important to recognize that analyses may face challenges due to various factors. Failures could stem from a breach of vacuum or low-amplitude measurements, compromising the reliability of both carbon and oxygen measurements. Alternatively, if the analysis of either carbon or oxygen fails, such as due to high inter-peak variation in the measurement of either element, the other element can still be considered reliable and plotted independently.

It is noteworthy that only 2/3 of the oxygen from carbonate (CO32-) is converted into the CO2 that can be measured by the isotope ratio mass spectrometer. Consequently, the oxygen isotope values are highly sensitive to conditions during acid digestion, particularly temperature. Interestingly, some samples omit both carbon and oxygen isotopic values as data points5. When isotopic values of one of the elements are omitted, it is advisable to at least provide a threshold value and a possible explanation for these failures.

In the graphs presented in Supplementary Materials (SUP MAT) 9-115, we observe multiple instances where only one of the two isotope measurements is displayed, and in many cases, the two spots are not perfectly vertically aligned (see Figures 1-3 in this article). The misalignment observed in these graphs suggests that they may not be based on isotopic measurements from the same CO2 molecule or were not created by graphing software. Conversely, in three places we encounter double and widely separated measurements of one of the two isotope ratios on the same vertical line. Double measurements of a single isotope, supposedly from a single sample point, as depicted in our Figures 2 and 3, cannot be attributed to technical readouts. Furthermore, in the top right graph of Supplementary Materials 95 (see our Figure 4), the line graph exhibits two noticeable 'dips' without corresponding sampling points or error bars, and no explanation for these anomalies is provided. The error bars accompanying the carbon isotope records in Fig. 2 of the paper5 (Figure 5 in this article) differ fundamentally from all the error bars in the carbon isotope records in the Supplementary Information, which seem to be duplicates of the oxygen isotope error bars. Despite the considerable difference in the vertical scale of the graphs, the error bars on both the oxygen and carbon plots are identical in length. Although the Methods section5 specifies a precision of ± 0.3‰, this level of precision is not reflected in the graphs. Moreover, as no carbonate or apatite standard has been specified, the origin of the error estimate remains unexplained. The error bars are often not centred correctly and display inconsistencies, deviating from the uniform values and appearance expected of analytical software (Figure 5 and 6 of this article).

Together, these characteristics strongly suggest that the graphs were manually created using image-handling software like Adobe Photoshop, rather than being direct outputs of analytical graphing software. Moreover, they cannot represent faithful manual reproductions of such analytical graphs, as they exhibit features that are inconsistent with copying errors. These features notably include the double measurements of an isotope and manually generated error bars that cannot accurately represent real error estimates. The pattern between the oxygen and carbon value maxima and minima across all referred specimens is extraordinarily consistent (Figures 1 – 6 of this article). Achieving such consistency would necessitate perfect sampling of growth intervals without the mixing of bounding layers. Even under ideal conditions, sample heterogeneity as well as analytical uncertainty30 will generally prevent reproduction of these exact values in the same individual – let alone in others. Notably, the stable isotope curves consistently exhibit equivalent maximum and minimum values each year in each individual fish, implying a consistent annual diet, a pattern not observed in any comparable analysis known to us.

The overlay image presented in SUP MAT 125 exemplifies the problem. It provides no scale on the x-axis, but verification against one of the source figures, SUP MAT 105 (Figure 7 in this article), which has such scale bars, reveals features that require explanation. The curves for specimens. FAU.DGS.ND.755.38.T., FAU.DGS.ND.755.22.T and FAU.DGS.ND.755.11.T match almost perfectly when overlaid: over the course of the 8 recorded growing seasons, it shows all three individuals depositing exactly 800 µm of bone. While matching sequences of "fat years" and "lean years" are plausible and can be expected, as they represent responses to the same ecosystem that hosted all the individuals, this perfect match of total amount of bone deposition is remarkable. Furthermore, the curves of FAU.DGS.ND.755.70.T appear at first sight not to match those of the three aforementioned specimens, but in fact do so perfectly when aligned to the left margin and stretched rightwards to exactly 150% of original length (Figure 8 of this article). Similarly, the curves of FAU.DGS.ND.755.31.T fit perfectly onto those of FAU.DGS.ND.755.36.T when aligned to the left margin and shortened to exactly 70% of original length (Figure 9 of this article). It seems improbable for these specimens to have been growing consistently at rates of 150% faster and 70% slower, necessitating an explanation to confirm the validity of the data.

Thin sections in the supplementary materials

Upon closer examination of the microscope images provided in the supplementary materials of the paper5, we identified a noteworthy discrepancy. Specifically, SUP MAT 35 SUP MAT 55 depict what appears to be the same section, albeit horizontally flipped. In SUP MAT 3, the specimen in question is identified as FAU.DGS.ND.755.36.T, while in SUP MAT 5, it is labelled as FAU.DGS.ND.755.57.T.

Additionally, both images contain an air bubble, a phenomenon typically observed on the rear of a histological slide beneath the protective glass cover, based on our experience. The air bubble is furthermore also present in exactly the same position in both images. This suggests that SUP MAT 3 and SUP MAT 5 were captured from the same side of the same sample, with one of the images being digitally manipulated (flipped) and attributed to a different sample.

Fish sizes

Figure 35 illustrates the sizes of "sub-yearling" fishes. In this figure, the number of measured fishes is unspecified, and a corresponding data table providing individual fish measurements is not included. Upon revisiting the Supplementary Information of the paper describing the locality,31 contradictory graphs are noted, suggesting that fish sizes commence at 15 cm. This graph lacks accompanying raw data, as well as a description of the methodology of fish measurement.

In DePalma et al. (2021)5, it is stated that "The smallest Acipenseriformes at Tanis (< 16 cm fork length) fall below the expected length of yearling extant acipenseriform taxa, and we interpret that they died during sub-yearling ontogeny (i.e. YOY)." This contradicts the depiction of fish sizes in the initial Tanis paper31, where all fishes are described as being at least 15 cm in length. Additionally, the "Tanis fossil sizes" range indicated in Figure 35 suggests that the fishes measure between 8-12 cm in length.

Moreover, there is a lack of explanation for the data points in Figure 35, with several instances of fish with the same body size allocated to different 'spawning seasons'.

During fieldwork in 2017, when MD, the first author of the present paper, was involved in fish collection, no sub-yearling fish was observed, and body sizes were not measured (personal observation MADD).

Conclusions of a Spring death

The histological sections shown in DePalma et al. contain air bubbles, and the histology itself appears out of focus, indicating that they may have been photographed from the side of the protective glass cover rather than from the side of the sample. Consequently, it becomes challenging to properly assess the histology of the specimens, making it difficult to discern osteocyte distribution. In our assessment, these sections do not provide sufficient evidence to either confirm or refute the hypothesis of a spring death.

While the stable carbon isotope record displays oscillations between summer maxima and winter minima, akin to findings in During et al., 20226, the final measurements of all specimens in DePalma et al. exhibit a maximum, suggesting fishes that perished not in spring but rather in summer. Nonetheless, irregularities in the methods and data presented appear sufficient to undermine confidence in either conclusion.

Figure 1. Missing and misaligned data points in SUP MAT 95. Top right is sturgeon specimen FAU.DGS.ND.755.57.T, the same specimen number as Figure 25 of the main article (see also figure 5 in this article).

Figure 2. Missing, duplicate, and misaligned data points in SUP MAT 105.

Figure 3. Missing, duplicate, and misaligned data points in SUP MAT 115.

Figure 4. The top right graph of Sup Mat95. Dips without sampling points and uncentered error bars.

Figure 5. Misaligned data points of Figure 2 of DePalma et al., 20215. The sturgeon specimen FAU.DGS.ND.755.57T is the same specimen number as in the top right of SUP MAT 95 (see also Figure 1 in this article). The histological section (C) is out of focus, the osteocyte distribution cannot be assessed here.

Figure 6. The left, centre, graph of Sup Mat105. Incomplete error bars.

Figure 7. Overlay of SUP MAT 105 FAU.DGS.ND.755.38.T. (bottom left) and  FAU.DGS.ND.755.11.T( bottom right).

Figure 8. Overlay of SUP MAT 105 FAU.DGS.ND.755.70.T (top left), stretched to 150% of original length, onto FAU.DGS.ND.755.11.T (bottom right).

Figure 9. Overlay of SUP MAT 105 FAU.DGS.ND.755.31.T(left, centred), compressed to 70% of original length, onto FAU.DGS.ND.755.36.T (right centred).

Figure 10. SUP MAT 35 (left) and SUP MAT 55 (right).

Figure 11. Juxtaposition of SUP MAT 35 (left, red) and SUP MAT 55 (right, green; see also Figure 10). When flipped horizontally (bottom left), the morphology and histology of the sample section in SUP MAT 35 matches that in SUP MAT 55 exactly. This is demonstrated (centre, bottom) where SUP MAT 35 is superimposed on SUP MAT 55.

Figure 12. Left: SUP MAT 55 (green) with a faint air bubble (yellow arrow); Right: SUP MAT 35 (red) overlying SUP MAT 55 (green), with a duplicate air bubble in exactly the same position (yellow arrow). Furthermore, the air bubble is in focus but the osteohistology is not, rendering the assessment of the seasonal time of death from this visualisation impossible.

Conclusions

The stable isotope graphs presented in DePalma et al.'s paper5, as depicted in Figure 25 and the Supplementary Materials, exhibit patterns that deviate from what would be expected from direct analytical outputs. Notably, neither the raw isotope data nor the isotopic results of the measured standards are provided in the paper or in any linked repository. Furthermore, indications of image manipulation are apparent in the Supplementary Information. Addressing these anomalies requires an explanation and a detailed account of the analytical procedure, including laboratory protocols, sample weights, standards utilised, and micro-milling transects, among other aspects.

We raise additional concerns regarding the authors' failure to adequately discuss how their osteohistological slides, fish body size graphs, or stable isotope graphs support the conclusion of a spring death. The evidence presented does not convincingly align with their assertion.

Crucially, in accordance with Scientific Reports' standards, the authors must provide the raw isotopic data underpinning their published figures. We strongly recommend that the Editor in Chief investigate how an analytical paper was published in Scientific Reports without the mandatory Data Availability statement.

Addressing these issues is imperative to uphold the integrity and transparency of scientific research.

Acknowledgements

We would like to thank Jeroen van der Lubbe and Jan Smit for their advice.

Additional Information

There is no competing interest.

Contributions

MADD, DFAEV, and PEA conducted the study and wrote the manuscript. MADD and PEA created the figures.

References

- Alvarez, L. W., Alvarez, W., Asaro, F. & Michel, H. V. Extraterrestrial cause for the Cretaceous–Tertiary extinction. Science 208, 1095–1108 (1980).

- Smit, J. & Hertogen, J. An extraterrestrial event at the Cretaceous–Tertiary boundary. Nature 285, 198–200 (1980).

- Raup, D. M. Biological extinction in earth history. Science 231, 1528–1533 (1986).

- Schulte, P. et al. The Chicxulub asteroid impact and mass extinction at the Cretaceous–Paleogene boundary. Science 327, 1214–1218 (2010).

- DePalma, R.A., Oleinik, A.A., Gurche, L.P. Burnham, D.A., Klingler, J.J., McKinney, C.J., Cichocki, F.P., Larson, P.L., Egerton, V.M., Wogelius, R.A., Edwards, N.P., Bergmann, W., Manning, P.L., Seasonal calibration of the end-cretaceous Chicxulub impact event. Sci Rep 11, 23704 (2021).

- During, M.A.D., Smit, J., Voeten, D.F.A.E., Berruyer, C., Tafforeau, P., Sanchez, S., Stein., K.H.W., Verdegaal-Warmerdam, S.J.A., Van der Lubbe, H.J.L. The Mesozoic terminated in boreal spring. Nature 603, 91–94 (2022).

- Robson, H.K., Andersen, S.H., Clarke, L., Craig, O.E., Gron, K.J., Jones, A.K., Karsten, P., Milner, N., Price, T.D., Ritchie, K. and Zabilska-Kunek, M., 2016. Carbon and nitrogen stable isotope values in freshwater, brackish and marine fish bone collagen from Mesolithic and Neolithic sites in central and northern Europe. Environmental Archaeology, 21(2), pp.105-118.

- DeNiro M. J. Epstein S., Carbon isotopic evidence for different feeding patterns in two hyrax species occupying the same habitat. Science 201:906–908 (1978).

- Hobson, K. A. Tracing origins and migration of wildlife using stable isotopes: A review. Oecologia 120, 314-326 (1999).

- Fry, B. Natural stable isotope tag traces Texas shrimp migrations. Fishery Bulletin 79, 337-345 (1981).

- Fry, B. & Sherr, E. B. 𝛿13C measurements as indicators of carbon flow in marine and freshwater ecosystems. Ecol. Stud. (1989).

- Finlay, J. C. Stable‐carbon‐isotope ratios of river biota: implications for energy flow in lotic food webs. Ecology 82, 1052–1064 (2001).

- Hobson, K. A., Piatt, J.F., and Pitocchelli ,J.. Using stable isotopes to determine seabird trophic relationships. Journal of Ecology 63, 786-798 (1994).

- Schell, D. M. Saupe, S.M., and Haubenstock, N. Bowhead whale (Balaena mysticetus) growth and feeding as estimated by δ13C techniques. Marine Biology 103, 433-443 (1989).

- Mizutani, H. Fukuda, M., Kabaya, Y., and Wada, E., Carbon isotope ratio of feathers reveals feeding behaviour of cormorants. The Auk 107, 400-437 (1990).

- Smith, R. J. Hobson, K.A., Koopman, H.N., and Lavigne, D.M., Distinguishing between populations of fresh and salt-water harbor seals (Phoca vitulina) using stable-isotope ratios and fatty acids. Canadian Journal of Fisheries and Aquatic Sciences 53, 272-279 (1996).

- Bemis, W. E. & Kynard, B. Sturgeon rivers: an introduction to acipenseriform biogeography and life history. Environ. Biol. Fish 48, 167–183 (1997).

- LeBreton, G. T., Beamish, F. W. H. & McKinley, S. R. (eds) Sturgeons and paddlefish of North America, Vol. 27 (Springer, 2004)

- Brand, W. A., Coplen, T. B., Vogl, J., Rosner, M., & Prohaska, T. (2014). Assessment of international reference materials for isotope-ratio analysis (IUPAC Technical Report). Pure and Applied Chemistry, 86(3), 425-467.

- Cullen, Thomas M., F. J. Longstaffe, Ulrich G. Wortmann, Mark B. Goodwin, Li Huang, and David C. Evans. "Stable isotopic characterization of a coastal floodplain forest community: a case study for isotopic reconstruction of Mesozoic vertebrate assemblages." Royal Society Open Science 6, no. 2 (2019): 181210.

- de Rooij, Jimmy, Jeroen HJL van der Lubbe, Suzan Verdegaal, Megan Hulscher, Daphne Tooms, Pim Kaskes, Oeki Verhage, Leonie Portanger, and Anne S. Schulp. "Stable isotope record of Triceratops from a mass accumulation (Lance Formation, Wyoming, USA) provides insights into Triceratops behaviour and ecology." Palaeogeography, Palaeoclimatology, Palaeoecology 607 (2022): 111274.

- Cullen, Thomas M., F. J. Longstaffe, Ulrich G. Wortmann, Mark B. Goodwin, Li Huang, and David C. Evans. "Stable isotopic characterization of a coastal floodplain forest community: a case study for isotopic reconstruction of Mesozoic vertebrate assemblages." Royal Society Open Science 6, no. 2 (2019): 181210.

- Coplen, Tyler B. "Guidelines and recommended terms for expression of stable‐isotope‐ratio and gas‐ratio measurement results." Rapid communications in mass spectrometry 25, no. 17 (2011): 2538-2560.

- Bryant, J. Daniel, Paul L. Koch, Philip N. Froelich, William J. Showers, and Bernard J. Genna. "Oxygen isotope partitioning between phosphate and carbonate in mammalian apatite." Geochimica et Cosmochimica Acta 60, no. 24 (1996): 5145-5148.

- Vennemann, T. W., Hegner, E., Cliff, G., & Benz, G. W.. Isotopic composition of recent shark teeth as a proxy for environmental conditions. Geochimica et Cosmochimica Acta, 65, no. 10 (2001): 1583-1599.

- Cullen, Thomas M., F. J. Longstaffe, Ulrich G. Wortmann, Mark B. Goodwin, Li Huang, and David C. Evans. "Stable isotopic characterization of a coastal floodplain forest community: a case study for isotopic reconstruction of Mesozoic vertebrate assemblages." Royal Society Open Science 6, no. 2 (2019): 181210.

- Hodgkins, Jamie, Curtis W. Marean, Jan A. Venter, Leesha Richardson, Patrick Roberts, Jana Zech, Mark Difford et al. "An isotopic test of the seasonal migration hypothesis for large grazing ungulates inhabiting the Palaeo-Agulhas Plain." Quaternary Science Reviews 235 (2020): 106221.

- Passey, Benjamin H., et al. "Carbon isotope fractionation between diet, breath CO2, and bioapatite in different mammals." Journal of Archaeological Science 32.10 (2005): 1459-1470.

- Breitenbach, S. F., & Bernasconi, S. M. (2011). Carbon and oxygen isotope analysis of small carbonate samples (20 to 100 µg) with a GasBench II preparation device. Rapid Communications in Mass Spectrometry, 25(13), 1910-1914.

- Torres, M.E., Mix, A.C. and Rugh, W.D., 2005. Precise δ13C analysis of dissolved inorganic carbon in natural waters using automated headspace sampling and continuous‐flow mass spectrometry. Limnology and Oceanography: Methods, 3(8), pp.349-360.

- DePalma, R. A., Smit, J., Burnham, D. A., Kuiper, K., Manning, P. L., Oleinik, A., ... & Alvarez, W. (2019). A seismically induced onshore surge deposit at the KPg boundary, North Dakota. Proceedings of the National Academy of Sciences, 116(17), 8190-8199.

Breitenbach, S. F., & Bernasconi, S. M. (2011). Carbon and oxygen isotope analysis of small carbonate samples (20 to 100 µg) with a GasBench II preparation device. Rapid Communications in Mass Spectrometry, 25(13), 1910-1914.

Torres, M.E., Mix, A.C. and Rugh, W.D., 2005. Precise δ13C analysis of dissolved inorganic carbon in natural waters using automated headspace sampling and continuous‐flow mass spectrometry. Limnology and Oceanography: Methods, 3(8), pp.349-360.

DePalma, R. A., Smit, J., Burnham, D. A., Kuiper, K., Manning, P. L., Oleinik, A., ... & Alvarez, W. (2019). A seismically induced onshore surge deposit at the KPg boundary, North Dakota. Proceedings of the National Academy of Sciences, 116(17), 8190-8199.